## Metadata
Metadata record
Project Name | HEC Annan and Jeannie catchments water quality
Project Description | Water quality data collected from five sites in the Annan River and a single freshwater site in the Jeannie River. Data include nutrient and metals collected across 2002-2012.
Project Code | E_HECAR
Funding | Initial funding for monitoring equipment came from the Great Barrier Reef Marine Park Authority (GBRMPA). Envirofund and Bundaberg Rum (2005), Natural Heritage Trust (NHT2) and Caring For Our Country (CFoC) (2006 - 2009), Queensland Environmental Protection Agency (DERM) and CFoC Reef Rescue Program.
Collection period (years) | 2002-2012
Data custodian | Howley Environmental Consulting
Licence | CC BY Deed - Attribution 4.0 International - Creative Commons
Laboratory | QHFSS (nutrients); DERM Water Quality & Aquatic Ecosystem Health division (chlorophyll a and phaeophytin); ALS Laboratory (metals)
Technical details | Water temperature, pH, dissolved oxygen, turbidity and electrical conductivity were measured in the field using instruments calibrated following the manufacturer’s instructions on a daily basis. Samples were collected for the analysis of total nitrogen (TN), total phosphorus (TP), dissolved inorganic nutrients, chlorophyll a, phaeophytin and selected total and soluble metals. Samples for dissolved inorganic nutrients were filtered on site through a 0.45 mm filter. Samples for nutrients were stored on ice in the field and frozen prior to sending to the laboratory for analysis. Samples were analysed using standard APHA methods (4500-P J for TN and TP; 4500-P G for FRP; 4500 NH3 H for ammonium/ammonia (NH4/NH3); 4500-NO3 I for nitrogen oxides (NOx). TN and TP were analysed by simultaneous persulfate digestion and the resulting solution analysed for nitrogen oxides (NOx) and filterable reactive phosphorus (FRP). Dissolved inorganic nutrients (NOx, ammonia and FRP) were determined by flow-injection analysis. Chlorophyll a and phaeophytin were determined spectrophotometrically after solvent extraction of the particulate material remaining after sample filtration. Total and dissolved metals were analysed by ALS by Inductively Coupled Plasma Mass Spectrometry (ICP-MS) and, total and dissolved mercury by FIMS-400 Flow-Injection Mercury-Atomic Absorption Spectrometer using standard methods (APHA 2005).
Use Limitations / notes | Note that some dissolved metals were removed as contamination from filters was suspected.
Data quality code | 910 - Good Sampling location, procedures, analytical methods, and data handling processes are well documented.
References | Howley, C.M., Olley, J.M. and Carroll, J. (2012) Annan and Endeavour River Freshwater and Estuarine Water Quality Report: An Assessment of Ambient Water Quality and Effects of Land Use 2002 – 2009. Cooktown, Queensland: CYMAG Environmental Inc.; 2012 p. 115.

## Site_info
project_code | project_name | source_site_name | site_name | basin_name | catchment_name | river_name | source_site_code | site_code | source_latitude_DD | source_longitude_DD | source_datum | latitude_DD | longitude_DD | datum | n
E_HECAR | HEC Annan and Jeannie catchments water quality | Little Annan bridge | Annan River at Mulligan Highway | Endeavour | Endeavour River | Annan River | AR-02 | JC107003 | -15.6803 | 145.2065 | GDA2020 | -15.6803 | 145.2065 | GDA2020 | 45
E_HECAR | HEC Annan and Jeannie catchments water quality | Annan River below Leswall Cr. | Annan River at Shiptons Flat Mine | Endeavour | Endeavour River | Annan River | AR-03 | 1070015 | -15.7539 | 145.2277 | GDA2020 | -15.7539 | 145.2277 | GDA2020 | 48
E_HECAR | HEC Annan and Jeannie catchments water quality | Wallaby Creek at Rossville markets | Wallaby Creek at Rossville Markets | Endeavour | Endeavour River | Wallaby Creek | AR-04 | JC107002 | -15.7471 | 145.2656 | GDA2020 | -15.7471 | 145.2656 | GDA2020 | 41
E_HECAR | HEC Annan and Jeannie catchments water quality | Leswall Creek (Adams Gully) | Leswall Creek off Collingwood Road | Endeavour | Endeavour River | Leswall Creek | AR-LES | JC107001 | -15.7545 | 145.2287 | GDA2020 | -15.7545 | 145.2287 | GDA2020 | 12
E_HECAR | HEC Annan and Jeannie catchments water quality | Jeannie River freshwater branch | Jeannie River above Waterfall | Jeannie | Jeannie River | Jeannie River | JR-04 | JC106001 | -14.7282 | 144.8741 | GDA2020 | -14.7282 | 144.8741 | GDA2020 | 4

## Data
project_code | project_name | site_code | site_name | sampling_date_time | sample_unique_identifier | sample_collection_method | laboratory_name | analysis_method | depth_m | comment | Field pH_OP | Field pH | Field Water temperature_OP | Field Water temperature | Field Conductivity_OP | Field Conductivity | Field Dissolved oxygen_OP | Field Dissolved oxygen | Field Turbidity_OP | Field Turbidity | Total phosphorus as P_OP | Total phosphorus as P | Filterable reactive phosphorus as P_OP | Filterable reactive phosphorus as P | Ammonium nitrogen as N_OP | Ammonium nitrogen as N | Oxidised nitrogen as N_OP | Oxidised nitrogen as N | Total nitrogen as N_OP | Total nitrogen as N | Chlorophyll-a_OP | Chlorophyll-a | Phaeophytin_OP | Phaeophytin | Antimony as Sb - total ug/L_OP | Antimony as Sb - total ug/L | Antimony as Sb - soluble ug/L_OP | Antimony as Sb - soluble ug/L | Arsenic as As - total ug/L_OP | Arsenic as As - total ug/L | Arsenic as As - soluble ug/L_OP | Arsenic as As - soluble ug/L | Beryllium as Be - total ug/L_OP | Beryllium as Be - total ug/L | Beryllium as Be - soluble ug/L_OP | Beryllium as Be - soluble ug/L | Barium as Ba - total ug/L_OP | Barium as Ba - total ug/L | Barium as Ba - soluble ug/L_OP | Barium as Ba - soluble ug/L | Cadmium as Cd - total ug/L_OP | Cadmium as Cd - total ug/L | Cadmium as Cd - soluble ug/L_OP | Cadmium as Cd - soluble ug/L | Chromium as Cr - total ug/L_OP | Chromium as Cr - total ug/L | Chromium as Cr - soluble ug/L_OP | Chromium as Cr - soluble ug/L | Cobalt as Co - total ug/L_OP | Cobalt as Co - total ug/L | Cobalt as Co - soluble ug/L_OP | Cobalt as Co - soluble ug/L | Copper as Cu - total ug/L_OP | Copper as Cu - total ug/L | Copper as Cu - soluble ug/L_OP | Copper as Cu - soluble ug/L | Iron as Fe - total ug/L_OP | Iron as Fe - total ug/L | Iron as Fe - soluble ug/L_OP | Iron as Fe - soluble ug/L | Manganese as Mn - total ug/L_OP | Manganese as Mn - total ug/L | Manganese as Mn - soluble ug/L_OP | Manganese as Mn - soluble ug/L | Lead as Pb - total ug/L_OP | Lead as Pb - total ug/L | Lead as Pb - soluble ug/L_OP | Lead as Pb - soluble ug/L | Nickel as Ni - total ug/L_OP | Nickel as Ni - total ug/L | Nickel as Ni - soluble ug/L_OP | Nickel as Ni - soluble ug/L | Vanadium as V - total ug/L_OP | Vanadium as V - total ug/L | Vanadium as V - soluble ug/L_OP | Vanadium as V - soluble ug/L | Zinc as Zn - total ug/L_OP | Zinc as Zn - total ug/L | Zinc as Zn - soluble ug/L_OP | Zinc as Zn - soluble ug/L | Mercury as Hg - total ug/L_OP | Mercury as Hg - total ug/L | Mercury as Hg - soluble ug/L_OP | Mercury as Hg - soluble ug/L | Tin as Sn - total ug/L_OP | Tin as Sn - total ug/L
[12 empty] | pH Units |  | Degrees celcius |  | Microsiemens/centimetre |  | Milligrams/Litre |  | NTU |  | Milligrams/Litre |  | Milligrams/Litre |  | Milligrams/Litre |  | Milligrams/Litre |  | Milligrams/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre |  | Micrograms/Litre
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2002-07-20 10:45 | 9007901 | Manual | QHFSS | See metadata |  |  |  | 6.82 |  | 21.8267 |  | 65 |  | 8.6333 |  | 8.9667
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2002-10-10 14:00 | 9007902 | Manual | QHFSS | See metadata |  |  |  | 6.9433 |  | 27.8 |  | 72 |  | 7.41 |  | 5.1667
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2003-01-20 14:05 | 9007903 | Manual | QHFSS | See metadata |  |  |  | 6.9633 |  | 28.6667 |  | 71 |  | 6.0367 |  | 8.1667
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2003-06-03 12:40 | 9007904 | Manual | QHFSS | See metadata |  |  |  | 6.6933 |  | 24.1333 |  | 58 |  |  |  | 7.4333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2003-11-07 13:00 | 9007905 | Manual | QHFSS | See metadata |  |  |  | 7.5367 |  | 30.1 |  |  |  | 7.6867
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2004-06-06 12:10 | 9007906 | Manual | QHFSS | See metadata |  |  |  | 6.71 |  | 22.4667 |  |  |  | 8.4333 |  | 5.5
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2004-08-13 16:35 | 9007907 | Manual | QHFSS | See metadata |  |  |  | 6.9633 |  | 22.9333 |  | 75 |  | 8.9 |  | 4.15
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2004-10-16 12:10 | 9007908 | Manual | QHFSS | See metadata |  |  |  | 6.39 |  | 25.2667 |  | 87 |  |  |  | 7.2
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2004-11-30 16:50 | 9007909 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.2467 |  | 29.2 |  | 70 |  | 5.5233 |  | 9.2 |  | 0.016 |  | 0.004 |  | 0.007 |  | 0.009 |  | 0.2 |  | 1.336 |  | 0.0668
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-01-26 09:00 | 9007910 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.01 |  | 25.8667 |  | 64 |  |  |  | 9.1667 |  | 0.012 |  | 0.002 |  | 0.004 |  | 0.026 |  | 0.14 |  | 0.3817 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-02-18 10:50 | 9007911 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.5767 |  | 27.4 |  | 56 |  | 7.3433 |  | 7.3667 |  | 0.013 |  | 0.002 |  | 0.003 |  | 0.002 |  | 0.16 |  | 0.668 |  | 0.2672
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-03-13 10:37 | 9007912 | Manual | QHFSS, DERM, ALS | See metadata | [5 empty] | 24.7333 |  | 60 |  |  |  | 79 |  | 0.029 |  | 0.005 |  | 0.008 |  | 0.24 |  | 0.41 |  | 0.2088 | < | 0.01 |  |  |  |  | < | 50 | < | 50 | [9 empty] | 20 | < | 5 |  | 20 | < | 50 |  |  |  |  | < | 50 | < | 50 | [9 empty] | 10 | < | 5 | < | 50 | < | 50 |  |  |  |  | < | 50 | < | 50 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-05-19 11:45 | 9007913 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.95 |  | 21.8 |  | 64 |  | 8.06 |  | 2.0333 |  | 0.007 | < | 0.002 |  | 0.004 | < | 0.002 |  | 0.06 |  | 0.1336 |  | 0.1781
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-06-17 09:20 | 9007914 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.795 |  | 23.2 |  | 61 |  | 8.2133 |  | 2.8 |  | 0.007 | < | 0.002 |  | 0.002 | < | 0.002 |  | 0.07 |  | 0.1856 |  | 0.308
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-07-27 11:52 | 9007915 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.5267 |  | 21.2333 |  | 63 |  | 8.33 |  | 3.7333 |  | 0.007 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.09 |  | 0.1781 |  | 0.1336
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-08-28 10:45 | 9007916 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.24 |  | 21.7333 |  | 61 |  | 8.0933 |  | 3.1 |  | 0.012 | < | 0.002 |  | 0.003 | < | 0.002 |  | 0.11 |  | 0.1002 |  | 0.2505
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2005-10-19 10:30 | 9007917 | Manual | QHFSS, DERM | See metadata | [5 empty] | 27.5 | [5 empty] | 2.1333 |  | 0.014 | < | 0.002 |  | 0.005 |  | 0.005 |  | 0.14 |  | 1.2692 |  | 0.5544
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-01-06 13:30 | 9007918 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.59 |  | 29.2667 |  | 68.7333 |  | 6.2667 |  | 2.7 | [11 empty] | 1.2247 |  | 0.5678
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-02-22 10:00 | 9007919 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.73 |  | 25.0667 |  | 61.5667 |  | 7.25 |  | 4.6 | [11 empty] | 0.1069 |  | 0.5665
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-03-14 10:35 | 9007920 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.8667 |  | 24 |  | 38.5 |  |  |  | 118 | [11 empty] | 0.8097 |  | 0.3239
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-03-31 09:35 | 9007921 | Manual | QHFSS | See metadata |  |  |  | 6.9067 |  | 24.3 |  | 61.4667 |  | 7.57 |  | 17.9667
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-05-11 09:30 | 9007922 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.1267 |  | 22.8667 |  | 67 |  | 7.29 |  | 3.8333 | [11 empty] | 0.1781 |  | 0.3206
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-06-20 10:20 | 9007923 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.37 |  | 21.6 |  |  |  | 7.79 |  | 3.4 |  | 0.008 | < | 0.002 |  | 0.004 |  | 0.005 |  | 0.06 |  | 0.1796 |  | 0.0718
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-08-02 10:30 | 9007924 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.6167 |  | 22.3667 |  | 64.7667 |  | 6.9767 |  | 2.9 |  | 0.007 |  | 0.003 | < | 0.002 |  | 0.005 |  | 0.06 |  | 0.01 |  | 0.5444
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-10-02 11:30 | 9007925 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.64 |  | 24.9333 |  | 73.3 |  | 6.9133 |  | 1.6667 |  | 0.01 |  | 0.003 | < | 0.002 | < | 0.002 |  | 0.11 |  | 0.8016 |  | 0.3518
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-11-29 10:25 | 9007926 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.6267 |  | 29.2333 |  | 78.9 |  | 6.2167 |  | 1.5533 |  | 0.014 |  | 0.002 |  | 0.002 | < | 0.002 |  | 0.15 |  | 1.8036 |  | 0.5344
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2006-12-18 10:40 | 9007927 | Manual | QHFSS, DERM, ALS | See metadata |  |  |  | 6.2267 |  | 27.8 |  | 68.5 |  | 6.6067 |  | 4.3667 |  | 0.01 | < | 0.002 |  | 0.008 |  | 0.003 |  | 0.18 |  | 0.7125 |  | 0.7838 | [5 empty] | 2 | [10 empty] | < | 0.1 |  |  | < | 1 | [6 empty] | < | 1 | [10 empty] | < | 1 |  |  | < | 1 | [6 empty] | < | 5 |  |  | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-02-06 12:00 | 9007928 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.19 |  | 25.2667 |  | 70.5 |  | 7.42 |  | 94.5 |  | 0.06 |  | 0.005 |  | 0.006 |  | 0.19 |  | 0.55 | [9 empty] | 2 |  | 2 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 | [5 empty] | 2 | < | 1 | [9 empty] | 2 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 | < | 5 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-03-06 11:11 | 9007929 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.4633 |  | 25.6 |  | 65.8 |  | 7.0833 |  | 3.8 |  | 0.011 | < | 0.002 |  | 0.003 |  | 0.017 |  | 0.1 |  | 0.334 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-04-24 10:40 | 9007930 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.6133 |  | 22.6333 |  | 69.3667 |  | 7.4533 |  | 3.3667 |  | 0.006 | < | 0.002 |  | 0.003 |  | 0.006 |  | 0.1 |  | 0.1781 |  | 0.3206
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-05-26 09:10 | 9007931 | Manual | QHFSS, ALS | See metadata | [13 empty] | 0.008 |  | 0.002 |  | 0.004 |  | 0.008 |  | 0.11 |  |  |  |  | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 |  | 4 |  |  | < | 0.1 | < | 0.1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 | [5 empty] | 8 |  | 6 | < | 1 | < | 1 | < | 1 | < | 1 | < | 10 | < | 10 |  | 6 |  |  | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-06-07 14:20 | 9007932 | Manual | QHFSS | See metadata |  |  |  | 6.7 |  | 24.3667 |  | 59.3667 |  | 6.9567 |  | 2 |  | 0.007 |  | 0.002 |  | 0.003 | < | 0.002 |  | 0.06
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-07-05 11:20 | 9007933 | Manual | QHFSS | See metadata |  |  |  | 7.5567 |  | 20 |  | 61.1333 |  | 6.85 |  | 1.6667 |  | 0.006 | < | 0.002 |  | 0.004 | < | 0.002 |  | 0.04
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-08-10 10:30 | 9007934 | Manual | QHFSS | See metadata |  |  |  | 6.9633 |  | 22.7333 |  | 66 |  | 6.0567 |  | 2 |  | 0.006 |  | 0.002 |  | 0.003 | < | 0.002 |  | 0.07
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-09-21 10:20 | 9007935 | Manual | QHFSS | See metadata |  |  |  | 7.4133 |  | 27.4667 |  | 68.9333 |  | 7.8667 |  | 2.6667 |  | 0.014 |  | 0.003 |  | 0.003 | < | 0.002 |  | 0.11
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-10-29 13:20 | 9007936 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.78 |  | 31.0667 |  | 77.3667 |  | 6.0467 |  | 3.3333 |  | 0.013 | < | 0.002 |  | 0.002 | < | 0.002 |  | 0.16 | [9 empty] | 4 |  | 4 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 |  |  |  |  | < | 1 | < | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 |  |  | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-11-20 11:00 | 9007937 | Manual | QHFSS | See metadata |  |  |  | 6.2467 |  | 23.7333 |  | 52.4667 |  | 7.1533 |  | 4.3333 |  | 0.01 | < | 0.002 |  | 0.004 |  | 0.009 |  | 0.19
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2007-12-10 09:00 | 9007938 | Manual | QHFSS | See metadata |  |  |  | 6.58 |  | 30.3333 |  | 61.2667 |  | 6.2267 |  | 3.1 |  | 0.012 | < | 0.002 |  | 0.004 | < | 0.002 |  | 0.15
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2008-01-18 10:10 | 9007939 | Manual | QHFSS | See metadata |  |  |  | 8.0333 |  | 27 |  | 70 |  | 6.6367 |  | 8.6667 |  | 0.008 | < | 0.002 |  | 0.005 |  | 0.004 |  | 0.13
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2008-02-29 10:40 | 9007940 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.5667 |  | 25.2 |  | 66.1667 |  | 7.1333 |  | 80.5333 |  | 0.033 |  | 0.003 |  | 0.004 |  | 0.069 |  | 0.28 |  |  |  |  | < | 1 |  |  |  | 1 | [11 empty] | 1 |  |  |  | 1 | [6 empty] | < | 1 |  |  |  | 1780 | [7 empty] | 1 |  |  | < | 1 | [6 empty] | < | 5
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2008-10-21 10:00 | 9007941 | Manual | QHFSS, DERM | See metadata |  |  |  | 5.61 |  | 25.1 |  | 57.9333 |  | 7.4267 |  | 2.2533 |  | 0.009 |  | 0.005 |  | 0.004 | < | 0.002 |  | 0.11 |  | 0.16032 |  | 0.32598
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2009-02-09 10:35 | 9007942 | Manual | QHFSS, ALS | See metadata |  |  |  | 7.3167 |  | 25.8 |  | 69.4333 |  | 6.6367 |  | 26.1333 |  | 0.019 |  | 0.003 |  | 0.004 |  | 0.015 |  | 0.19 | [8 empty] | < | 1 |  | 1 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 | [5 empty] | 2 |  | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 | [5 empty] | 12 |  |  | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2009-05-13 12:10 | 9007943 | Manual | QHFSS | See metadata |  |  |  | 6.6 |  | 23.9 |  | 56.5667 |  | 7.4933 |  | 3.8567
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2012-03-01 14:20 | 9007944 | Manual | QHFSS | See metadata | [11 empty] | 704
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2002-07-20 13:06 | 9007945 | Manual | QHFSS | See metadata |  |  |  | 6.76 |  | 23.2667 |  | 47 |  | 9.05 |  | 9.2
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2002-10-10 13:00 | 9007946 | Manual | QHFSS | See metadata |  |  |  | 7.1433 |  | 26.1 |  | 53 |  | 6.2933 |  | 7.5333
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2003-01-20 16:40 | 9007947 | Manual | QHFSS | See metadata |  |  |  | 6.9667 |  | 28.5 |  | 68 |  | 6.18 |  | 5.0667
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2003-06-03 13:25 | 9007948 | Manual | QHFSS | See metadata |  |  |  | 6.6533 |  | 22.9333 |  | 56 |  | 7.9133 |  | 7.6
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2003-07-11 11:45 | 9007949 | Manual | QHFSS | See metadata |  |  |  | 6.3433 |  | 28.2667 |  |  |  | 5.7833 |  | 6.1333
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2004-04-06 13:20 | 9007950 | Manual | QHFSS | See metadata |  |  |  | 6.5633 |  | 22.4 |  |  |  | 8.88 |  | 5.1667
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2004-06-06 13:20 | 9007951 | Manual | QHFSS | See metadata |  |  |  | 6.5633 |  | 22.4 |  |  |  | 8.88 |  | 5.1667
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2004-08-13 15:40 | 9007952 | Manual | QHFSS | See metadata |  |  |  | 6.7533 |  | 21.8333 |  | 71 |  | 5.77 |  | 3.9
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2004-10-16 09:50 | 9007953 | Manual | QHFSS | See metadata |  |  |  | 6.34 |  | 24.1333 |  | 71 |  | 6.3667 |  | 7.0333
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2004-11-30 17:30 | 9007954 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.2267 |  | 26.8667 |  | 64 |  | 5.85 |  | 3 |  | 0.013 |  | 0.003 |  | 0.006 |  | 0.003 |  | 0.19 |  | 0.334 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-01-26 10:20 | 9007955 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.1833 |  | 25.5333 |  | 63 |  |  |  | 4.5333 |  | 0.011 |  | 0.003 |  | 0.002 |  | 0.006 |  | 0.16 | < | 0.01 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-02-18 11:40 | 9007956 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.4167 |  | 26.6667 |  | 59 |  | 7.46 |  | 3.2667 |  | 0.011 |  | 0.004 |  | 0.005 | < | 0.002 |  | 0.12 |  | 0.7287 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-03-13 11:43 | 9007957 | Manual | QHFSS, DERM, ALS | See metadata | [5 empty] | 24.7 |  | 65.6667 |  |  |  | 13.2667 |  | 0.017 |  | 0.005 |  | 0.006 |  | 0.089 |  | 0.31 |  | 0.1233 |  | 0.0206 |  |  |  |  | < | 50 | < | 50 | [8 empty] | < | 5 | < | 5 | < | 5 | < | 50 |  |  |  |  | < | 50 | < | 50 | [8 empty] | < | 5 | < | 5 | < | 50 | < | 50 | [5 empty] | 52 |  | 52 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-05-19 13:00 | 9007958 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.5367 |  | 21.6667 |  | 63 |  | 7.8833 |  | 1.8333 |  | 0.008 | < | 0.002 |  | 0.003 | < | 0.002 |  | 0.12 |  | 0.159 |  | 0.1304
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-06-17 10:00 | 9007959 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.4 |  | 22.0333 |  | 57 |  | 8.1033 |  | 3.6 |  | 0.007 | < | 0.002 |  | 0.004 | < | 0.002 |  | 0.08 |  | 0.167 |  | 0.324
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-07-27 12:43 | 9007960 | Manual | QHFSS | See metadata |  |  |  | 6.39 |  | 20.8 |  | 54 |  | 8.2367 |  | 5.7 |  | 0.004 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.08
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-08-28 11:23 | 9007961 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.685 |  | 20.6333 |  | 53 |  | 8.04 |  | 1.6 |  | 0.008 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.08 |  | 0.1525 |  | 0.2959
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2005-10-19 12:43 | 9007962 | Manual | QHFSS, DERM | See metadata | [5 empty] | 25.5 | [5 empty] | 1.7333 |  | 0.012 | < | 0.002 |  | 0.004 |  | 0.002 |  | 0.13 |  | 0.7737 |  | 0.3697
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-01-06 14:00 | 9007963 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.4333 |  | 28.6 |  | 60.3 |  | 6.6633 |  | 2.5667 |  |  | < | 0.002 |  | 0.003 |  | 0.003 |  |  |  | 0.3817 |  | 1.4887
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-02-22 10:45 | 9007964 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.3567 |  | 24.3667 |  | 56.3333 |  | 7.23 |  |  |  | 0.02 |  | 0.003 |  | 0.009 |  | 0.35 |  | 0.47 |  | 0.01 |  | 0.0748
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-03-31 10:15 | 9007965 | Manual | QHFSS | See metadata |  |  |  | 6.8733 |  | 25.2 |  | 85.4667 |  | 7.2333 |  | 141.3333
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-05-11 11:00 | 9007966 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.4067 |  | 23.4 |  | 12 |  | 7.66 |  | 69 |  | 0.033 | [7 empty] | 0.46 |  | 0.668 |  | 1.5531
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-06-20 11:30 | 9007967 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.6633 |  | 19.7333 |  |  |  | 7.7733 |  | 11.8 |  | 0.019 |  | 0.004 |  | 0.006 |  | 0.006 |  | 0.12 |  | 0.1909 |  | 0.397
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-08-02 11:15 | 9007968 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.3 |  | 21.5 |  | 59.7667 |  | 8.26 |  | 2.3667 |  | 0.007 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.05 |  | 0.113 |  | 0.2472
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-10-02 12:00 | 9007969 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.28 |  | 24 |  | 65.1667 |  | 7.3367 |  | 1.2667 |  | 0.01 |  | 0.003 |  | 0.002 | < | 0.002 |  | 0.1 |  | 0.1336 |  | 0.147
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-11-29 10:50 | 9007970 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.2233 |  | 26.4 |  | 65.5 |  | 6.0667 |  | 1.6467 |  | 0.011 |  | 0.003 |  | 0.004 | < | 0.002 |  | 0.14 |  | 0.8666 |  | 0.473
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2006-12-18 11:35 | 9007971 | Manual | QHFSS, DERM, ALS | See metadata |  |  |  | 5.9633 |  | 26.8333 |  | 66.3 |  | 6.6033 |  | 1.13 |  | 0.008 |  | 0.002 |  | 0.004 |  | 0.003 |  | 0.16 |  | 3.1619 | < | 0.01 | [5 empty] | 2 | [10 empty] | < | 0.1 |  |  | < | 1 | [6 empty] | < | 1 | [10 empty] | < | 1 |  |  | < | 1 | [6 empty] | < | 5 |  |  | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-02-06 10:50 | 9007972 | Manual | QHFSS, DERM, ALS | See metadata | [11 empty] | 15.9667 |  | 0.018 |  | 0.006 |  | 0.024 |  | 0.94 |  | 1.2 |  | 0.0954 | < | 0.01 | [5 empty] | 6 |  | 4 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 | [5 empty] | 9 |  | 6 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 | < | 5 |  |  | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-03-06 10:00 | 9007973 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.21 |  | 24.5 |  | 61.7 |  | 7.06 |  | 3.1433 |  | 0.008 |  | 0.002 |  | 0.003 |  | 0.006 |  | 0.07 |  | 0.1336 |  | 0.147
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-04-24 10:00 | 9007974 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.2633 |  | 22.6333 |  | 61.5333 |  | 7.9233 |  | 2.3667 |  | 0.018 | < | 0.002 |  | 0.004 |  | 0.032 |  | 0.1 |  | 0.167 |  | 0.1837
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-05-26 10:15 | 9007975 | Manual | QHFSS, ALS | See metadata | [13 empty] | 0.009 | [7 empty] | 0.1 |  |  |  |  | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 |  | 2 |  | 2 | < | 0.1 | < | 0.1 | < | 1 | < | 0.1 | < | 1 | < | 1 | < | 1 | < | 1 | [5 empty] | 4 |  | 3 | < | 1 | < | 1 | < | 1 | < | 1 | < | 10 | < | 10 | < | 5 | < | 5 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-06-07 11:30 | 9007976 | Manual | QHFSS | See metadata |  |  |  | 6.3533 |  | 23.2 |  | 52.3667 |  | 8.0267 |  | 2 |  | 0.007 |  | 0.003 |  | 0.002 | < | 0.002 |  | 0.07
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-07-05 11:50 | 9007977 | Manual | QHFSS | See metadata |  |  |  | 6.3333 |  | 18.3 |  | 51.2333 |  | 8.96 |  | 1 |  | 0.007 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.09
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-08-10 11:00 | 9007978 | Manual | QHFSS | See metadata |  |  |  | 6.86 |  | 20.8 |  | 57.3667 |  | 8 |  | 2 |  | 0.005 |  | 0.003 |  | 0.003 | < | 0.002 |  | 0.08
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-09-21 11:10 | 9007979 | Manual | QHFSS | See metadata |  |  |  | 7.3467 |  | 22.3 |  | 58.1 |  | 7.3567 |  | 1 |  | 0.009 | < | 0.002 |  | 0.002 |  | 0.002 |  | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-10-29 11:25 | 9007980 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.59 |  | 29.1 |  | 62.9667 |  | 5.63 |  | 1.3333 |  | 0.01 |  | 0.002 |  | 0.004 |  | 0.002 |  | 0.15 | [9 empty] | 2 |  | 2 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 |  |  |  |  | < | 1 | < | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 |  |  | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-11-20 11:30 | 9007981 | Manual | QHFSS | See metadata |  |  |  | 6.02 |  | 23.3333 |  | 50.3 |  | 7.7433 |  | 1.6667 |  | 0.007 | < | 0.002 |  | 0.004 |  | 0.008 |  | 0.17
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2007-12-10 10:45 | 9007982 | Manual | QHFSS | See metadata |  |  |  | 6.52 |  | 27.5 |  | 54.6333 |  | 6.3733 |  | 1.6867 |  | 0.008 |  | 0.002 |  | 0.003 | < | 0.002 |  | 0.13
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2008-01-18 10:45 | 9007983 | Manual | QHFSS, ALS | See metadata |  |  |  | 7.3333 |  | 25.8667 |  | 61.5333 |  | 7.1733 |  | 2 | [19 empty] | 2 |  | 1 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 | [5 empty] | 1 | < | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 | [5 empty] | 5 | < | 5 | < | 0.1 |  | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2008-02-15 10:05 | 9007984 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.4333 |  | 25.3 |  | 69.8 |  | 7.2433 |  | 8.97 |  | 0.006 |  | 0.002 |  | 0.003 |  | 0.004 |  | 0.11 | [9 empty] | 2 |  | 2 | [9 empty] | 0.1 |  | 0.1 | < | 1 | < | 1 | [5 empty] | 4 |  | 3 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 | < | 5 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2008-02-29 11:30 | 9007985 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.6133 |  | 24.6 |  | 67.0333 |  | 7.5267 |  | 9.7333 |  | 0.016 |  | 0.003 |  | 0.004 |  | 0.056 |  | 0.2 |  |  |  |  | < | 1 |  |  |  | 2 | [14 empty] | < | 1 | [6 empty] | < | 1 |  |  |  | 390 | [6 empty] | < | 1 | [10 empty] | < | 5 | [6 empty] | < | 1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2008-03-20 09:20 | 9007986 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.25 |  | 23.1333 |  | 64.2 |  | 7.7067 |  | 4.7 | [14 empty] | < | 1 | < | 1 |  | 2 | < | 1 | [12 empty] | < | 1 | < | 1 | [5 empty] | 1 |  | 1 |  | 80 |  | 80 |  |  |  |  | < | 1 | < | 1 | [8 empty] | < | 5 | < | 5
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2008-06-25 13:00 | 9007987 | Manual | QHFSS, DERM, ALS | See metadata |  |  |  | 6.3367 |  | 21.1 |  | 64.5 |  | 6.5567 |  | 1.7167 |  | 0.017 | < | 0.002 |  | 0.002 | < | 0.002 |  | 0.06 |  | 0.1002 |  | 0.15698 | < | 1 |  |  |  | 1 | [11 empty] | 1 |  |  | < | 1 | [6 empty] | < | 1 | [10 empty] | < | 1 | [11 empty] | 56
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2008-10-21 12:00 | 9007988 | Manual | QHFSS, DERM | See metadata |  |  |  | 5.59 |  | 24.0333 |  | 51.9333 |  | 7.67 |  | 1.2333 |  | 0.008 |  | 0.005 |  | 0.003 |  | 0.003 |  | 0.11 |  | 0.1336 |  | 0.07682
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2009-02-09 12:20 | 9007989 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.8767 |  | 25.5333 |  | 75.8667 |  | 6.9767 |  | 6.75 |  | 0.015 |  | 0.003 |  | 0.004 |  | 0.015 |  | 0.18 | [9 empty] | 2 |  | 1 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 | [5 empty] | 2 |  | 2 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 |  |  | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2010-01-28 15:14 | 9007990 | Manual | QHFSS, ALS | See metadata | [11 empty] | 3.9 | [19 empty] | 1 |  | 2 | < | 1 | < | 1 |  | 4 |  |  | < | 0.1 | < | 0.1 | < | 1 | < | 1 | < | 1 | < | 1 | < | 1 |  | 1 | [5 empty] | 5 |  | 4 | < | 1 | < | 1 | < | 1 | < | 1 | < | 10 | < | 10 | < | 5
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2010-03-27 | 9007991 | Manual | QHFSS, ALS | See metadata | [26 empty] | < | 1 | < | 1 |  | 2 | < | 1 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 | [5 empty] | 5 |  | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 | < | 5 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2002-07-20 12:25 | 9007992 | Manual | QHFSS | See metadata |  |  |  | 6.76 |  | 20.2667 |  | 59 |  | 9.29 |  | 10.3333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2002-10-10 12:25 | 9007993 | Manual | QHFSS | See metadata |  |  |  | 7.27 |  | 24.4 |  | 61 |  | 6.78 |  | 5.7
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2003-01-20 14:45 | 9007994 | Manual | QHFSS | See metadata |  |  |  | 6.99 |  | 26.8 |  | 61 |  | 7.3333 |  | 5.6333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2003-06-03 13:55 | 9007995 | Manual | QHFSS | See metadata |  |  |  | 6.8667 |  | 22.9667 |  | 61 |  | 8.0367 |  | 6.0667
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2003-07-11 14:30 | 9007996 | Manual | QHFSS | See metadata |  |  |  | 7.02 |  | 27.9667 |  |  |  | 7.2233 |  | 2.3667
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2004-04-06 13:00 | 9007997 | Manual | QHFSS | See metadata |  |  |  | 6.9033 |  | 22.1333 |  |  |  | 8.71 |  | 7.3333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2004-06-06 13:00 | 9007998 | Manual | QHFSS | See metadata |  |  |  | 6.9033 |  | 22.1333 |  |  |  | 8.71 |  | 7.3333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2004-08-13 15:50 | 9007999 | Manual | QHFSS | See metadata |  |  |  | 6.8633 |  | 22.2 |  | 65 |  | 6.3233 |  | 4.9
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2004-10-16 10:15 | 9008000 | Manual | QHFSS | See metadata |  |  |  | 6.2467 |  | 22.5 |  | 66 |  |  |  | 6.7
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2004-11-30 18:20 | 9008001 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.36 |  | 25.9333 |  | 67 |  | 5.7333 |  | 3.2667 |  | 0.012 |  | 0.003 |  | 0.006 |  | 0.003 |  | 0.14 |  | 0.334 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-01-26 09:40 | 9008002 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.1733 |  | 24.6 |  | 58 |  |  |  | 3.1333 |  | 0.009 |  | 0.002 |  | 0.003 |  | 0.005 |  | 0.06 | < | 0.01 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-02-18 12:40 | 9008003 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.46 |  | 25.0333 |  | 57 |  | 8.3 |  | 2.3 |  | 0.01 |  | 0.002 | < | 0.002 |  | 0.002 |  | 0.07 |  | 0.5567 | < | 0.01
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-03-13 12:43 | 9008004 | Manual | QHFSS, DERM, ALS | See metadata | [5 empty] | 23.3 |  | 38 |  |  |  | 15.6 |  | 0.014 |  | 0.003 |  | 0.004 |  | 0.031 |  | 0.18 |  | 0.0393 |  | 0.0707 |  |  |  |  | < | 50 | < | 50 | [8 empty] | < | 5 | < | 5 | < | 5 | < | 50 |  |  |  |  | < | 50 | < | 50 | [8 empty] | < | 5 | < | 5 | < | 50 | < | 50 |  |  |  |  | < | 50 | < | 50 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-05-19 14:10 | 9008005 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.6967 |  | 21.4333 |  | 62 |  | 8.5967 |  | 1.7667 |  | 0.006 | < | 0.002 |  | 0.002 |  | 0.003 |  | 0.05 |  | 0.2505 |  | 0.1587
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-06-17 10:45 | 9008006 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.5433 |  | 22 |  | 61 |  | 8.5567 |  | 2.9667 |  | 0.006 | < | 0.002 |  | 0.002 |  | 0.002 |  | 0.06 |  | 0.167 |  | 0.4467
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-07-27 13:45 | 9008007 | Manual | QHFSS | See metadata |  |  |  | 6.5567 |  | 20.5 |  | 62 |  | 8.71 |  | 3.1333 |  | 0.006 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.05
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-08-28 12:10 | 9008008 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.79 |  | 20.3 |  | 62 |  | 7.9833 |  | 1.8333 |  | 0.008 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.06 |  | 0.2004 |  | 0.2204
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2005-10-19 11:50 | 9008009 | Manual | QHFSS, DERM | See metadata | [11 empty] | 1.6333 |  | 0.009 | < | 0.002 |  | 0.004 |  | 0.003 |  | 0.09 |  | 0.1484 |  | 0.2672
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-01-06 14:30 | 9008010 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.54 |  | 27.9 |  | 61.9 |  | 6.8867 |  | 2.8667 | [11 empty] | 0.1336 |  | 0.5678
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-02-22 11:00 | 9008011 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.5467 |  | 24 |  | 58.1 |  | 7.69 |  | 3.9333 | [11 empty] | 0.1527 |  | 0.4352
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-03-31 10:45 | 9008012 | Manual | QHFSS | See metadata |  |  |  | 6.6767 |  | 23.6 |  | 50.4333 |  | 7.8267 |  | 6.2333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-05-11 11:40 | 9008013 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.27 |  | 22.3667 |  | 58 |  | 7.8367 |  | 4.3667 | [11 empty] | 0.1691 |  | 0.2452
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-06-20 12:00 | 9008014 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.3933 |  | 20.8 |  |  |  | 8.1733 |  | 2.9 |  | 0.007 | < | 0.002 |  | 0.003 |  | 0.007 |  | 0.07 |  | 0.1336 |  | 0.334
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-08-02 12:00 | 9008015 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.54 |  | 21.2333 |  | 60.7333 |  | 8.15 |  | 1.0033 | [11 empty] | 0.1336 |  | 0.3153
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-10-02 13:21 | 9008016 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.2333 |  | 23.4 |  | 66.4 |  | 7.9633 |  | 3.3 |  | 0.008 |  | 0.003 | < | 0.002 |  | 0.002 |  | 0.07 |  | 0.4008 |  | 0.3006
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-11-29 11:40 | 9008017 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.2067 |  | 26.2 |  | 67.6 |  | 7.1167 |  | 1.25 |  | 0.009 | < | 0.002 |  | 0.002 | < | 0.002 |  | 0.09 |  | 0.2461 |  | 0.1477
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2006-12-18 12:15 | 9008018 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.0867 |  | 25.3 |  | 62.3 |  | 7.2067 |  | 1.2467 |  | 0.007 |  | 0.002 |  | 0.004 |  | 0.003 |  | 0.1 |  | 0.0891 |  | 0.2227
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-02-06 11:15 | 9008019 | Manual | QHFSS, DERM, ALS | See metadata |  |  |  | 6.1067 |  | 23.8 |  | 55.5333 |  | 7.3933 |  | 12.0333 |  | 0.013 |  | 0.003 |  | 0.004 |  | 0.023 |  | 0.22 |  | 0.4228 |  | 0.2875 | [5 empty] | 2 | < | 1 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 |  |  |  |  | < | 1 | < | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 |  |  |  |  | < | 5 | < | 5 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-03-06 10:30 | 9008020 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.28 |  | 23.8 |  | 59.3 |  | 7.4467 |  | 1.7467 |  | 0.01 | < | 0.002 |  | 0.002 |  | 0.003 |  | 0.05 |  | 0.4079 |  | 0.306
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-04-24 09:10 | 9008021 | Manual | QHFSS, DERM | See metadata |  |  |  | 6.98 |  | 22.4 |  | 61.2333 |  | 7.4033 |  | 3.3 |  | 0.003 |  | 0.002 |  | 0.003 |  | 0.005 |  | 0.05 |  | 0.4676 |  | 0.5611
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-06-07 12:30 | 9008022 | Manual | QHFSS | See metadata |  |  |  | 6.6833 |  | 22.8 |  | 57.3667 |  | 7.9833 |  | 2.3333 |  | 0.006 | < | 0.002 |  | 0.002 |  | 0.004 |  | 0.05
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-07-05 12:27 | 9008023 | Manual | QHFSS | See metadata |  |  |  | 6.58 |  | 19 |  | 58.7333 |  | 7.9167 |  | 1.3333 |  | 0.006 |  | 0.002 |  | 0.003 |  | 0.004 |  | 0.04
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-08-10 11:30 | 9008024 | Manual | QHFSS | See metadata |  |  |  | 6.9667 |  | 20.8667 |  | 63.3333 |  | 6.6933 |  | 1 |  | 0.005 | < | 0.002 | < | 0.002 |  | 0.002 |  | 0.06
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-09-21 11:40 | 9008025 | Manual | QHFSS | See metadata |  |  |  | 7.0733 |  | 22.7 |  | 63.9 |  | 7.3833 |  | 1 |  | 0.008 | < | 0.002 |  | 0.002 |  | 0.003 |  | 0.07
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-10-29 12:11 | 9008026 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.6233 |  | 28.5 |  | 66.1333 |  | 6.8967 |  | 2 |  | 0.007 | < | 0.002 | < | 0.002 |  | 0.003 |  | 0.09 | [9 empty] | 2 | [11 empty] | 0.1 |  |  | < | 1 | [6 empty] | < | 1 | [10 empty] | < | 1 |  |  | < | 1 | [6 empty] | < | 5 |  |  | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-11-20 12:30 | 9008027 | Manual | QHFSS | See metadata |  |  |  | 6.32 |  | 23.1667 |  | 55.7667 |  | 7.47 |  | 3 |  | 0.006 | < | 0.002 |  | 0.003 |  | 0.008 |  | 0.11
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2007-12-10 10:00 | 9008028 | Manual | QHFSS | See metadata |  |  |  | 6.6467 |  | 26.5 |  | 60.5667 |  | 6.72 |  | 1.3333 |  | 0.006 | < | 0.002 | < | 0.002 | < | 0.002 |  | 0.08
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2008-01-18 11:50 | 9008029 | Manual | QHFSS | See metadata |  |  |  | 6.79 |  | 25.4667 |  | 61.3 |  | 6.68 |  | 1.3333 |  | 0.005 | < | 0.002 | < | 0.002 |  | 0.003 |  | 0.07
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2008-06-25 12:30 | 9008030 | Manual | QHFSS, DERM, ALS | See metadata |  | Low recovery rate for arsenic in laboratory spike |  | 6.5333 |  | 19.8 |  | 64.4 |  | 8.7033 |  | 2.0233 |  | 0.017 | < | 0.002 |  | 0.004 |  | 0.044 |  | 0.11 |  | 0.1336 |  | 0.38076 |  |  |  |  | < | 1 | [11 empty] | 0.7 |  |  | < | 1 | [6 empty] | < | 1 | [10 empty] | < | 1 | [10 empty] | < | 5
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2009-02-09 11:15 | 9008031 | Manual | QHFSS, ALS | See metadata |  |  |  | 7.01 |  | 24.5 |  | 56.8 |  | 7.0667 |  | 3.3467 |  | 0.008 | < | 0.002 |  | 0.003 | < | 0.002 |  | 0.16 | [9 empty] | 1 |  | 1 | [8 empty] | < | 0.1 | < | 0.1 | < | 1 | < | 1 |  |  |  |  | < | 1 |  | 1 | [8 empty] | < | 1 | < | 1 | < | 1 | < | 1 | [5 empty] | 10 |  |  |  | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107002 | Wallaby Creek at Rossville Markets | 2009-05-13 13:25 | 9008032 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.8667 |  | 22.7 |  | 56.6 |  | 7.38 |  | 1.8333 | [18 empty] | < | 1 | [7 empty] | 4 |  |  | < | 0.1 |  |  | < | 1 | [6 empty] | < | 1 | < | 1 |  | 140 |  |  |  | 3 |  |  | < | 1 |  | 2 | < | 1 | [6 empty] | < | 5 |  |  | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2004-06-06 13:30 | 9008033 | Manual | QHFSS | See metadata |  |  |  | 6.59 |  | 22.9333 |  |  |  | 5.7733 |  | 4.9
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2007-02-06 10:45 | 9008034 | Manual | QHFSS | See metadata |  |  |  | 6.22 |  | 25.5 |  | 129.6 |  | 6.51 |  | 16.9333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2007-03-06 09:30 | 9008035 | Manual | QHFSS | See metadata |  |  |  | 6.4067 |  | 24.5333 |  | 120.1667 |  | 6.2933 |  | 8.0567
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2007-04-24 10:05 | 9008036 | Manual | QHFSS | See metadata |  |  |  | 6.3633 |  | 22.9 |  | 133.3333 |  | 5.8467 |  | 4.9
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2007-05-26 10:35 | 9008037 | Manual | QHFSS, ALS | See metadata | [13 empty] | 0.014 |  | 0.003 |  | 0.006 |  | 0.004 |  | 0.09 |  |  |  |  | < | 1 | < | 1 |  | 4 |  | 4 | < | 1 | < | 1 |  | 8 |  | 8 | < | 0.1 | < | 0.1 | < | 0.1 | < | 0.1 | < | 1 | < | 1 |  | 4 |  | 3 | [5 empty] | 11 |  | 11 | < | 1 | < | 1 | < | 1 | < | 1 | < | 10 | < | 10 | < | 5 | < | 5 | < | 0.1 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2007-07-05 11:55 | 9008038 | Manual | QHFSS | See metadata | [13 empty] | 0.014 | [7 empty] | 0.09
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2008-01-18 10:45 | 9008039 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.0833 |  | 25.7667 |  | 150.0333 |  | 0.98 |  | 18.6667 |  | 0.018 | [7 empty] | 0.34 | [11 empty] | 14 |  | 11 | [8 empty] | < | 0.1 |  | 0.1 | < | 1 | < | 1 | [5 empty] | 32 | [5 empty] | 21 |  |  |  |  | < | 1 | < | 1 | < | 1 | < | 10 |  |  |  |  | < | 5 | < | 5 | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2008-02-15 10:00 | 9008040 | Manual | QHFSS | See metadata |  |  |  | 6.6433 |  | 25.7 |  | 104 |  | 6.7933 |  | 22.2333 |  | 0.021 | [7 empty] | 0.36
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2008-02-29 11:30 | 9008041 | Manual | QHFSS, ALS | See metadata |  |  |  | 6.6333 |  | 25.6 |  | 81.6 |  | 7.3567 |  | 16.5 |  | 0.016 |  | 0.003 |  | 0.005 |  | 0.079 |  | 0.23 |  |  |  |  | < | 1 |  |  |  | 2 | [14 empty] | < | 1 | [6 empty] | < | 1 | [10 empty] | < | 1
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2008-03-20 09:20 | 9008042 | Manual | QHFSS | See metadata |  |  |  | 6.46 |  | 24.1 |  | 99.5 |  | 6.93 |  | 9.1333
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2009-02-09 11:20 | 9008043 | Manual | QHFSS | See metadata |  |  |  | 6.91 |  | 25.9 |  | 88.9333 |  | 6.85 |  | 9.55 |  | 0.014 |  | 0.004 |  | 0.005 |  | 0.014 |  | 0.17
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107001 | Leswall Creek off Collingwood Road | 2009-05-13 13:00 | 9008044 | Manual | QHFSS | See metadata |  |  |  | 6.5667 |  | 22.6 |  | 53.4333 |  | 8.0033 |  | 1.76
E_HECAR | HEC Annan and Jeannie catchments water quality | JC106001 | Jeannie River above Waterfall | 2008-04-14 12:00 | 9008045 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.8133 |  | 26.3 |  | 91.7 |  | 6.9033 |  | 17.6 |  | 0.006 |  | 0.002 |  | 0.004 |  | 0.006 |  | 0.1 |  | 0.3611 |  | 0.2708
E_HECAR | HEC Annan and Jeannie catchments water quality | JC106001 | Jeannie River above Waterfall | 2008-07-16 | 9008046 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.71 |  | 23.9 |  | 177.7333 |  | 5.0233 |  | 3.5167 |  | 0.022 |  | 0.003 |  | 0.003 | < | 0.002 |  | 0.34 |  | 8.1496 |  | 2.652
E_HECAR | HEC Annan and Jeannie catchments water quality | JC106001 | Jeannie River above Waterfall | 2009-03-22 12:50 | 9008047 | Manual | QHFSS | See metadata |  |  |  | 6.92 |  | 28.4667 |  | 83 |  | 6.9633 |  | 18.2
E_HECAR | HEC Annan and Jeannie catchments water quality | JC106001 | Jeannie River above Waterfall | 2009-06-05 12:10 | 9008048 | Manual | QHFSS, DERM | See metadata |  |  |  | 7.2 |  | 24.7667 |  | 197.3333 |  | 4.47 |  | 3.1133 | [11 empty] | 3.006 |  | 5.177
E_HECAR | HEC Annan and Jeannie catchments water quality | JC107003 | Annan River at Mulligan Highway | 2009-05-13 | 9008049 | Manual | QHFSS, ALS | See metadata | [11 empty] | 1.8 | [18 empty] | < | 1 | [6 empty] | < | 1 |  |  | < | 0.1 |  |  | < | 1 | [6 empty] | < | 1 | < | 1 |  | 60 |  |  |  | 2 |  |  | < | 1 | < | 1 | < | 1 | [6 empty] | < | 5 |  |  | < | 0.1
E_HECAR | HEC Annan and Jeannie catchments water quality | 1070015 | Annan River at Shiptons Flat Mine | 2009-05-13 | 9008050 | Manual | QHFSS, ALS | See metadata | [11 empty] | 3.9 | [19 empty] | 1 | [7 empty] | 3 |  |  | < | 0.1 |  |  | < | 1 | [6 empty] | < | 1 | < | 1 |  | 140 |  |  |  | 3 |  |  | < | 1 |  |  | < | 1 | [6 empty] | < | 5 |  |  | < | 0.1