## Metadata
Metadata record
Project Name | Sunshine Coast Council Mary Catchment water quality
Project Description | Water quality data collected on an approximate monthly basis from September 2019 to December 2020 at nine sites in the Mary River catchment. Data collected include physico-chemical and nutrients.
Project Code | E_SCCMR
Funding | Sunshine Coast Council
Collection period (years) | 2019-2020
Data custodian | Sunshine Coast Council
Licence | Data supplied by Sunshine Coast Council (2023). While every care is taken to ensure the accuracy of the data, Sunshine Coast Council makes no representations or warranties about its accuracy, reliability, completeness or suitability for any particular purpose and disclaims all responsibility and all liability (including without limitation, liability in negligence) for all expenses, losses, damages (including indirect or consequential damage) and costs which might be incurred as a result of the data being inaccurate or incomplete in any way and for any reason. CC BY Deed - Attribution 4.0 International - Creative Commons
Laboratory | Unitywater, Morayfield
Technical details | Specific conductance, pH, turbidity and water temperature were measured in the field using instruments calibrated following the manufacturer’s instructions. All water sampling and measurements were in accordance with the Queensland Monitoring and Sampling Manual (DES 2018) following the Sunshine Coast Council's standard operating procedures for water quality monitoring. Water samples were collected for the analysis of dissolved inorganic nutrients (i.e., ammonia, nitrite and nitrate (NOx), and filterable reactive phosphorus [FRP]), total nitrogen (TN) and total phosphorus (TP) at the Unitywater NATA accredited laboratory using standard methods. Samples for dissolved inorganic nutrients were filtered in the field using a syringe and 0.45 μm filter attachment. All water samples were chilled immediately after collection and transported to the laboratory for analysis. TN and TP were analysed following persulfate digestions and the resulting solution analysed for NOx and filterable reactive phosphorus (FRP) using flow injection analysis. Dissolved inorganic nutrients were analysed by photochemical methods using a flow injection analyser.
Use Limitations / notes | NA
Data quality code | 910 - Good Sampling location, procedures, analytical methods, and data handling processes are well documented.
Citation | Sunshine Coast Council, 2023. Mary River Nutrient study across 2019-2020.

## Site_info
project_code | project_name | source_site_name | site_name | basin_name | catchment_name | river_name | source_site_code | site_code | source_latitude_DD | source_longitude_DD | source_datum | latitude_DD | longitude_DD | datum | n
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Crystal Waters Causeway (Kilcoy Lane) | Mary River at Crystal Springs Permaculture Lower | Mary | Upper Mary River | Mary River | MAR020 | 1381082 | -26.7797 | 152.7191 | GDA2020 | -26.7797 | 152.7191 | GDA2020 | 13
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Little Yabba Creek - Charlie Morland Campground | Little Yabba Creek off Mcaulays Road | Mary | Upper Mary River | Little Yabba Creek | LYC800 | JC138104 | -26.6201 | 152.657 | GDA2020 | -26.6201 | 152.657 | GDA2020 | 11
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Grigor Bridge (Conondale Bridge) | Mary River at Conondale | Mary | Upper Mary River | Mary River | MAR050 | 1381020 | -26.7301 | 152.7128 | GDA94 | -26.7286 | 152.7135 | GDA2020 | 13
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Dalton Bridge (Eastern Mary River Rd.) | Mary River at Eastern Mary River Road | Mary | Upper Mary River | Mary River | MAR099 | JC138101 | -26.7074 | 152.7012 | GDA2020 | -26.7074 | 152.7012 | GDA2020 | 13
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Cambroon Bridge (Eastern Mary River Rd) | Mary River at Cambroon | Mary | Upper Mary River | Mary River | MAR120 | JC138102 | -26.6402 | 152.6862 | GDA2020 | -26.6402 | 152.6862 | GDA2020 | 12
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Charles St Park upstream of Obi Obi | Mary River at Kenilworth | Mary | Upper Mary River | Mary River | MAR170 | 1380112 | -26.5961 | 152.7319 | GDA2020 | -26.5968 | 152.7313 | GDA2020 | 13
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Pickering Bridge | Mary River at Moy Pocket Road | Mary | Upper Mary River | Mary River | MAR240 | JC138105 | -26.5462 | 152.7559 | GDA2020 | -26.5462 | 152.7559 | GDA2020 | 13
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Walker Rd | Mary River at Walkers Bend | Mary | Upper Mary River | Mary River | MAR300 | 1381136 | -26.5144 | 152.7438 | GDA2020 | -26.5129 | 152.7451 | GDA2020 | 13
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | Obi Obi Crossing 2 | Obi Obi Creek at Crossing Number 2 | Mary | Upper Mary River | Obi Obi Creek | OBI760 | 1380113 | -26.637 | 152.7845 | GDA2020 | -26.6351 | 152.7858 | GDA2020 | 13

## Data
project_code | project_name | site_code | site_name | sampling_date_time | sample_unique_identifier | sample_collection_method | laboratory_name | analysis_method | depth_m | comment | Ammonium nitrogen as N_OP | Ammonium nitrogen as N | Field Conductivity_OP | Field Conductivity | Field Dissolved oxygen_OP | Field Dissolved oxygen | Oxidised nitrogen as N_OP | Oxidised nitrogen as N | Total nitrogen as N_OP | Total nitrogen as N | Field pH_OP | Field pH | Filterable reactive phosphorus as P_OP | Filterable reactive phosphorus as P | Total phosphorus as P_OP | Total phosphorus as P | Field Water temperature_OP | Field Water temperature | Field Turbidity_OP | Field Turbidity
[12 empty] | Milligrams/Litre |  | Microsiemens/centimetre |  | Milligrams/Litre |  | Milligrams/Litre |  | Milligrams/Litre |  | pH Units |  | Milligrams/Litre |  | Milligrams/Litre |  | Degrees celcius |  | NTU
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2019-11-29 09:30 | 9026025 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 455 |  | 7.1 | < | 0.005 |  | 0.51 |  | 7.8 |  | 0.007 |  | 0.03 |  | 27.8 |  | 3.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-01-24 09:45 | 9026026 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.031 |  | 451 |  | 10.2 |  | 0.088 |  | 1.61 |  | 8.79 |  | 0.029 |  | 0.05 |  | 30 |  | 9.7
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-02-27 10:00 | 9026027 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.013 |  | 240 |  | 6.5 |  | 0.073 |  | 0.43 |  | 7.44 |  | 0.016 |  | 0.01 |  | 24.8 |  | 1.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-03-27 09:45 | 9026028 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 263 |  | 6.6 |  | 0.008 |  | 0.26 |  | 7.8 | < | 0.005 |  | 0.03 |  | 22.3 |  | 0.99
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-04-27 10:00 | 9026029 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 326 |  | 6.9 | < | 0.005 |  | 0.19 |  | 8.05 | < | 0.005 |  | 0.02 |  | 20.8 |  | 0.91
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-06-01 12:45 | 9026030 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 338 |  | 8.5 | < | 0.005 |  | 0.12 |  | 8.02 | < | 0.005 | < | 0.01 |  | 17.6 |  | 0.91
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-06-30 12:25 | 9026031 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  |  |  |  | < | 0.005 |  | 0.16 |  |  | < | 0.005 |  | 0.01
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-08-04 09:50 | 9026032 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.011 |  | 328 |  | 9.5 | < | 0.005 |  | 0.14 |  | 7.7 |  | 0.006 | < | 0.01 |  | 14.9 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-09-25 09:40 | 9026033 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.018 |  | 427 |  | 8.3 | < | 0.005 |  | 0.28 |  | 7.85 |  | 0.007 | < | 0.01 |  | 23.5 |  | 2.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-11-30 09:15 | 9026034 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 498 |  | 5.9 | < | 0.005 |  | 0.46 |  | 7.58 |  | 0.005 |  | 0.03 |  | 27.9 |  | 2.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138104 | Little Yabba Creek off Mcaulays Road | 2020-12-23 11:15 | 9026035 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 333 |  | 6.8 | < | 0.005 |  | 0.38 |  | 7.62 |  | 0.006 |  | 0.02 |  | 27.8 |  | 1.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2019-09-18 07:30 | 9026036 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 207 |  | 7.3 |  | 0.019 |  | 0.23 |  | 7.62 |  | 0.006 |  | 0.02 |  | 15.8 |  | 0.89
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2019-10-23 08:30 | 9026037 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 225 |  | 5.8 |  | 0.009 |  | 0.19 |  | 7.38 |  | 0.012 |  | 0.03 |  | 17.6 |  | 0.61
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2019-11-29 07:45 | 9026038 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 327 |  | 1 | < | 0.005 |  | 0.5 |  | 7.21 |  | 0.014 |  | 0.09 |  | 21.4 |  | 2.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-01-24 08:00 | 9026039 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.036 |  | 280 |  | 4.5 |  | 0.13 |  | 0.5 |  | 7.28 |  | 0.019 |  | 0.03 |  | 25 |  | 0.99
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-02-27 08:20 | 9026040 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.007 |  | 147 |  | 7.9 |  | 0.18 |  | 0.49 |  | 7.69 |  | 0.017 |  | 0.03 |  | 22.6 |  | 7.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-03-27 08:00 | 9026041 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 160 |  | 8 |  | 0.14 |  | 0.36 |  | 7.77 |  | 0.013 |  | 0.05 |  | 19.9 |  | 1.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-04-27 08:30 | 9026042 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 177 |  | 8.1 |  | 0.055 |  | 0.16 |  | 8.14 |  | 0.013 |  | 0.03 |  | 17.1 |  | 1.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-06-01 08:00 | 9026043 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 182 |  | 8.3 |  | 0.025 |  | 0.091 |  |  |  | 0.007 |  | 0.01 |  | 15.1 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-06-30 11:30 | 9026044 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.012 | [5 empty] | 0.032 |  | 0.12 |  |  |  | 0.01 |  | 0.02
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-08-04 08:00 | 9026045 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.021 |  | 151 |  | 9.2 |  | 0.13 |  | 0.24 |  | 7.51 |  | 0.014 |  | 0.02 |  | 12.1 |  | 0.92
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-09-25 08:15 | 9026046 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 202 |  | 4.5 |  | 0.009 |  | 0.18 |  | 7.24 |  | 0.014 |  | 0.02 |  | 17.3 |  | 1.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-11-30 07:30 | 9026047 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.031 |  | 296 |  | 0.6 | < | 0.005 |  | 0.39 |  | 7.04 |  | 0.025 |  | 0.07 |  | 21.1 |  | 1.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381082 | Mary River at Crystal Springs Permaculture Lower | 2020-12-23 12:35 | 9026048 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 223 |  | 7.7 |  | 0.12 |  | 0.33 |  | 7.77 |  | 0.02 |  | 0.03 |  | 24.8 |  | 0.33
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2019-09-18 08:00 | 9026049 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 267 |  | 10.2 | < | 0.005 |  | 0.29 |  | 8.19 |  | 0.005 |  | 0.03 |  | 19.4 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2019-10-23 09:00 | 9026050 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 268 |  | 7.5 | < | 0.005 |  | 0.51 |  | 7.54 |  | 0.011 |  | 0.08 |  | 24 |  | 2.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2019-11-29 08:15 | 9026051 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.007 |  | 370 |  | 7.3 | < | 0.005 |  | 1.02 |  | 7.68 |  | 0.014 |  | 0.11 |  | 26.5 |  | 4.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-01-24 08:30 | 9026052 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.015 |  | 282 |  | 7.3 |  | 0.22 |  | 0.86 |  | 7.66 |  | 0.026 |  | 0.07 |  | 29 |  | 3.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-02-27 08:45 | 9026053 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.047 |  | 123 |  | 6.4 |  | 0.19 |  | 0.76 |  | 7.47 |  | 0.043 |  | 0.06 |  | 23.7 |  | 18.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-03-27 08:30 | 9026054 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.025 |  | 186 |  | 5.8 |  | 0.11 |  | 0.39 |  | 7.79 |  | 0.016 |  | 0.05 |  | 22.1 |  | 1.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-04-27 09:15 | 9026055 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.007 |  | 217 |  | 10.2 |  | 0.014 |  | 0.2 |  | 8.19 |  | 0.006 |  | 0.02 |  | 20.4 |  | 0.91
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-06-01 08:30 | 9026056 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.037 |  | 216 |  | 6.4 | < | 0.005 |  | 0.12 |  | 8.02 |  | 0.005 |  | 0.05 |  | 16.5 |  | 3.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-06-30 11:45 | 9026057 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 | [5 empty] | 0.027 |  | 0.21 |  |  | < | 0.005 |  | 0.02
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-08-04 08:40 | 9026058 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.034 |  | 164 |  | 11 |  | 0.072 |  | 0.3 |  | 7.89 |  | 0.011 |  | 0.03 |  | 13.9 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-09-25 08:40 | 9026059 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 252 |  | 10.9 | < | 0.005 |  | 0.33 |  | 8.38 |  | 0.009 |  | 0.02 |  | 23.2 |  | 3.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-11-30 08:15 | 9026060 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.023 |  | 321 |  | 5.3 | < | 0.005 |  | 3.78 |  | 7.75 |  | 0.005 |  | 0.41 |  | 25.7 |  | 10.7
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381020 | Mary River at Conondale | 2020-12-23 12:15 | 9026061 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.018 |  | 305 |  | 9.4 |  | 0.03 |  | 0.56 |  | 7.84 |  | 0.032 |  | 0.1 |  | 31.3 |  | 1.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2019-09-18 08:30 | 9026062 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 307 |  | 7.8 | < | 0.005 |  | 0.28 |  | 7.57 |  | 0.006 |  | 0.04 |  | 20.1 |  | 3.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2019-10-23 09:20 | 9026063 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 309 |  | 6.5 | < | 0.005 |  | 0.26 |  | 7.46 | < | 0.005 |  | 0.03 |  | 22.3 |  | 1.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2019-11-29 08:30 | 9026064 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.047 |  | 483 |  | 2.9 | < | 0.005 |  | 0.53 |  | 7.35 |  | 0.006 |  | 0.04 |  | 24.2 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-01-24 08:50 | 9026065 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.04 |  | 347 |  | 3.9 |  | 0.042 |  | 0.47 |  | 7.45 |  | 0.014 |  | 0.04 |  | 28.2 |  | 2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-02-27 09:00 | 9026066 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.013 |  | 146 |  | 6.8 |  | 0.19 |  | 0.61 |  | 7.48 |  | 0.025 |  | 0.04 |  | 24.1 |  | 15.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-03-27 09:00 | 9026067 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.014 |  | 215 |  | 6.8 |  | 0.037 |  | 0.29 |  | 7.46 |  | 0.014 |  | 0.05 |  | 21.9 |  | 2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-04-27 09:20 | 9026068 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 252 |  | 6.7 |  | 0.007 |  | 0.21 |  | 8.07 |  | 0.009 |  | 0.03 |  | 20.5 |  | 1.7
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-06-01 08:45 | 9026069 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 235 |  | 8.1 |  | 0.008 |  | 0.12 |  | 7.99 | < | 0.005 |  | 0.02 |  | 16.5 |  | 1.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-06-30 11:55 | 9026070 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.007 | [5 empty] | 0.011 |  | 0.17 |  |  |  | 0.005 |  | 0.02
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-08-04 09:00 | 9026071 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.016 |  | 195 |  | 9.5 |  | 0.015 |  | 0.22 |  | 7.54 |  | 0.009 |  | 0.02 |  | 14.3 |  | 2.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-09-25 09:00 | 9026072 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 282 |  | 7.6 | < | 0.005 |  | 0.32 |  | 7.59 |  | 0.007 |  | 0.02 |  | 21.9 |  | 2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-11-30 08:30 | 9026073 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 444 |  | 6.4 | < | 0.005 |  | 0.48 |  | 7.44 |  | 0.006 |  | 0.03 |  | 26.2 |  | 2.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138101 | Mary River at Eastern Mary River Road | 2020-12-23 12:00 | 9026074 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.032 |  | 308 |  | 8.9 | < | 0.005 |  | 0.54 |  | 7.89 |  | 0.024 |  | 0.05 |  | 29.8 |  | 1.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2019-09-18 09:15 | 9026075 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 313 |  | 6.2 |  | 0.005 |  | 0.18 |  | 7.63 | < | 0.005 |  | 0.02 |  | 19.1 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2019-10-23 09:45 | 9026076 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 347 |  | 7.6 | < | 0.005 |  | 0.22 |  | 7.63 |  | 0.007 |  | 0.03 |  | 22 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2019-11-29 09:00 | 9026077 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.78 |  | 401 |  | 3 |  | 0.005 |  | 5.72 |  | 7.22 |  | 0.035 |  | 1.76 |  | 23.2 |  | 1230
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-01-24 09:15 | 9026078 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 419 |  | 4.2 | < | 0.005 |  | 0.37 |  | 7.46 |  | 0.019 |  | 0.04 |  | 27.9 |  | 1.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-02-27 09:30 | 9026079 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 274 |  | 6.7 |  | 0.13 |  | 0.42 |  | 7.44 |  | 0.024 |  | 0.04 |  | 26.3 |  | 2.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-03-27 09:30 | 9026080 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 242 |  | 6.8 |  | 0.038 |  | 0.37 |  | 7.71 |  | 0.017 |  | 0.05 |  | 22.9 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-04-27 09:40 | 9026081 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 290 |  | 3.9 | < | 0.005 |  | 0.088 |  | 7.94 |  | 0.014 |  | 0.1 |  | 20.9 |  | 6.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-06-01 09:30 | 9026082 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.027 |  | 294 |  | 3.3 | < | 0.005 |  | 0.052 |  | 7.93 | < | 0.005 |  | 0.05 |  | 17.9 |  | 4.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-06-30 12:10 | 9026083 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  |  |  |  | < | 0.005 |  | 0.12 |  |  |  | 0.006 |  | 0.05
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-08-04 09:30 | 9026084 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.011 |  | 253 |  | 5.1 |  | 0.007 |  | 0.077 |  | 7.27 |  | 0.011 |  | 0.05 |  | 15.1 |  | 3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-09-25 09:15 | 9026085 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.043 |  | 294 |  | 1.9 | < | 0.005 |  | 0.16 |  | 7.11 |  | 0.007 |  | 0.01 |  | 17.9 |  | 2.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138102 | Mary River at Cambroon | 2020-12-23 11:35 | 9026086 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 317 |  | 2.5 | < | 0.005 |  | 0.4 |  | 7.25 |  | 0.024 |  | 0.15 |  | 27.3 |  | 1.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2019-09-18 11:00 | 9026087 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.009 |  | 316 |  | 12.4 | < | 0.005 |  | 0.29 |  | 8.41 |  | 0.075 |  | 0.12 |  | 23.7 |  | 0.76
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2019-10-23 11:15 | 9026088 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 356 |  | 9.3 | < | 0.005 |  | 0.2 |  | 7.96 | < | 0.005 |  | 0.01 |  | 26.2 |  | 0.82
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2019-11-29 10:15 | 9026089 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 380 |  | 9 | < | 0.005 |  | 0.14 |  | 7.73 |  | 0.006 |  | 0.03 |  | 27 |  | 1.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-01-24 10:10 | 9026090 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 432 |  | 8.4 | < | 0.005 |  | 0.28 |  | 7.91 |  | 0.006 |  | 0.02 |  | 29.7 |  | 0.58
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-02-27 10:30 | 9026091 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 284 |  | 9.2 |  | 0.035 |  | 0.25 |  | 7.9 |  | 0.01 |  | 0.01 |  | 27.8 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-03-27 10:30 | 9026092 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 262 |  | 9.8 |  | 0.01 |  | 0.19 |  | 7.94 |  | 0.015 |  | 0.04 |  | 24.8 |  | 1.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-04-27 10:50 | 9026093 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 304 |  | 9.6 |  | 0.006 |  | 0.15 |  | 8.17 |  | 0.009 |  | 0.02 |  | 23.4 |  | 0.54
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-06-01 12:10 | 9026094 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 296 |  | 11 |  | 0.026 |  | 0.11 |  | 8.03 | < | 0.005 |  | 0.07 |  | 20 |  | 0.67
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-06-30 12:50 | 9026095 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 | [5 empty] | 0.053 |  | 0.18 |  |  |  | 0.005 |  | 0.01
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-08-04 10:50 | 9026096 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.011 |  | 247 |  | 10.4 |  | 0.037 |  | 0.15 |  | 7.74 |  | 0.009 |  | 0.01 |  | 16.7 |  | 0.47
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-09-25 10:15 | 9026097 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 318 |  | 4.8 | < | 0.005 |  | 0.16 |  | 7.52 |  | 0.01 |  | 0.01 |  | 21.7 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-11-30 10:00 | 9026098 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.019 |  | 414 |  | 7.1 | < | 0.005 |  | 0.22 |  | 7.63 |  | 0.012 |  | 0.02 |  | 29.1 |  | 2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380112 | Mary River at Kenilworth | 2020-12-23 10:45 | 9026099 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.011 |  | 313 |  | 9.8 | < | 0.005 |  | 0.42 |  | 7.76 |  | 0.013 |  | 0.03 |  | 29.4 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2019-09-18 11:30 | 9026100 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.012 |  | 283 |  | 9.5 |  | 0.01 |  | 0.24 |  | 7.98 |  | 0.006 |  | 0.02 |  | 21.5 |  | 1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2019-10-23 11:50 | 9026101 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 294 |  | 12.5 | < | 0.005 |  | 0.25 |  | 8.75 |  | 0.009 |  | 0.03 |  | 25 |  | 1.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2019-11-29 10:45 | 9026102 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.087 |  | 407 |  | 5.1 | < | 0.005 |  | 2.98 |  | 8.18 |  | 0.091 |  | 0.48 |  | 30.7 |  | 6.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-01-24 10:50 | 9026103 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.014 |  | 310 |  | 6.5 | < | 0.005 |  | 0.59 |  | 7.85 |  | 0.024 |  | 0.06 |  | 30.1 |  | 2.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-02-27 11:10 | 9026104 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 265 |  | 7.9 |  | 0.14 |  | 0.41 |  | 7.77 |  | 0.02 |  | 0.03 |  | 27.8 |  | 5.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-03-27 10:55 | 9026105 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.013 |  | 219 |  | 8.1 |  | 0.092 |  | 0.37 |  | 7.93 |  | 0.025 |  | 0.06 |  | 24.6 |  | 3.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-04-27 11:25 | 9026106 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.014 |  | 274 |  | 9.2 |  | 0.058 |  | 0.3 |  | 8.45 |  | 0.01 |  | 0.03 |  | 23.5 |  | 2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-06-01 11:00 | 9026107 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.024 |  | 243 |  | 9.3 |  | 0.12 |  | 0.25 |  | 8.06 |  | 0.006 |  | 0.02 |  | 18 |  | 1.2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-06-30 13:15 | 9026108 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.02 | [5 empty] | 0.059 |  | 0.26 |  |  |  | 0.005 |  | 0.02
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-08-04 11:45 | 9026109 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.026 |  | 211 |  | 10.2 |  | 0.025 |  | 0.19 |  | 7.84 |  | 0.012 |  | 0.02 |  | 16.1 |  | 1.7
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-09-25 11:00 | 9026110 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 271 |  | 8.5 |  | 0.005 |  | 0.26 |  | 7.72 |  | 0.014 |  | 0.02 |  | 22.6 |  | 1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-11-30 11:00 | 9026111 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.012 |  | 311 |  | 7 | < | 0.005 |  | 0.31 |  | 7.4 |  | 0.011 |  | 0.03 |  | 26.3 |  | 2.4
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | JC138105 | Mary River at Moy Pocket Road | 2020-12-23 09:35 | 9026112 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 271 |  | 7.1 |  | 0.14 |  | 0.57 |  | 7.42 |  | 0.025 |  | 0.07 |  | 28.2 |  | 3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2019-09-18 11:45 | 9026113 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.031 |  | 300 |  | 9.1 |  | 0.03 |  | 0.38 |  | 7.98 |  | 0.01 |  | 0.04 |  | 22.1 |  | 2.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2019-10-23 12:15 | 9026114 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.022 |  | 301 |  | 8.8 |  | 0.024 |  | 0.37 |  | 8.11 |  | 0.019 |  | 0.04 |  | 24.9 |  | 1.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2019-11-29 11:15 | 9026115 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 351 |  | 5.2 | < | 0.005 |  | 0.52 |  | 7.85 |  | 0.072 |  | 0.13 |  | 26.2 |  | 2
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-01-24 11:10 | 9026116 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.008 |  | 418 |  | 7.7 | < | 0.005 |  | 1.24 |  | 7.87 |  | 0.077 |  | 0.17 |  | 29.4 |  | 8.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-02-27 11:45 | 9026117 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.006 |  | 269 |  | 8 |  | 0.15 |  | 0.41 |  | 7.74 |  | 0.024 |  | 0.03 |  | 27.4 |  | 4.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-03-27 11:45 | 9026118 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.007 |  | 222 |  | 8.1 |  | 0.1 |  | 0.38 |  | 7.86 |  | 0.028 |  | 0.06 |  | 24.1 |  | 3.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-04-27 11:45 | 9026119 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 269 |  | 8.9 |  | 0.039 |  | 0.24 |  | 8.36 |  | 0.013 |  | 0.03 |  | 22.3 |  | 1.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-06-01 11:10 | 9026120 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.013 |  | 243 |  | 9.1 |  | 0.11 |  | 0.28 |  | 7.94 |  | 0.009 |  | 0.02 |  | 17.6 |  | 1.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-06-30 13:30 | 9026121 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.013 | [5 empty] | 0.078 |  | 0.38 |  |  |  | 0.01 |  | 0.03
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-08-04 12:15 | 9026122 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.019 |  | 215 |  | 9.8 |  | 0.037 |  | 0.23 |  | 7.82 |  | 0.014 |  | 0.02 |  | 15.6 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-09-25 11:20 | 9026123 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.067 |  | 323 |  | 9.1 |  | 0.068 |  | 0.63 |  | 7.8 |  | 0.024 |  | 0.04 |  | 24.2 |  | 1.6
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-11-30 11:15 | 9026124 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.065 |  | 310 |  | 13.3 |  | 0.0865 |  | 0.67 |  | 8.43 |  | 0.032 |  | 0.09 |  | 26.4 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1381136 | Mary River at Walkers Bend | 2020-12-23 09:55 | 9026125 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.014 |  | 267 |  | 7 |  | 0.15 |  | 0.555 |  | 7.61 |  | 0.0415 |  | 0.08 |  | 28.4 |  | 3.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2019-09-18 12:30 | 9026126 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 201 |  | 10.2 |  | 0.005 |  | 0.31 |  | 8.16 |  | 0.009 |  | 0.03 |  | 21.2 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2019-10-23 12:50 | 9026127 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 216 |  | 10.4 | < | 0.005 |  | 0.35 |  | 8.28 |  | 0.02 |  | 0.04 |  | 25.1 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2019-11-29 11:45 | 9026128 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 204 |  | 9.6 | < | 0.005 |  | 0.39 |  | 8.15 |  | 0.023 |  | 0.05 |  | 28.2 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-01-24 11:45 | 9026129 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.02 |  | 247 |  | 7.5 |  | 0.33 |  | 0.83 |  | 7.81 |  | 0.031 |  | 0.07 |  | 29.4 |  | 1.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-02-27 12:35 | 9026130 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.011 |  | 166 |  | 7.4 |  | 0.032 |  | 0.3 |  | 7.74 |  | 0.034 |  | 0.04 |  | 26.7 |  | 1.8
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-03-27 13:30 | 9026131 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  | 136 |  | 8.3 |  | 0.029 |  | 0.34 |  | 7.91 |  | 0.022 |  | 0.09 |  | 23.2 |  | 2.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-04-27 12:10 | 9026132 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.01 |  | 172 |  | 8.8 |  | 0.014 |  | 0.27 |  | 8.52 |  | 0.019 |  | 0.05 |  | 22.3 |  | 1.9
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-06-01 11:40 | 9026133 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 |  |  |  | 10 | < | 0.005 |  | 0.36 |  | 8.34 |  | 0.011 |  | 0.11 |  | 17 |  | 1.3
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-06-30 14:00 | 9026134 | Manual | Unitywater Maroochydore | See metadata |  |  | < | 0.005 | [5 empty] | 0.015 |  | 0.22 |  |  |  | 0.011 |  | 0.03
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-08-04 11:15 | 9026135 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.02 |  | 154 |  | 10.1 |  | 0.043 |  | 0.28 |  | 7.67 |  | 0.015 |  | 0.03 |  | 15 |  | 2.5
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-09-25 10:35 | 9026136 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.005 |  | 173 |  | 7.4 | < | 0.005 |  | 0.3 |  | 7.67 |  | 0.019 |  | 0.02 |  | 22.7 |  | 0.91
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-11-30 10:30 | 9026137 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.014 |  | 296 |  | 11 | < | 0.005 |  | 0.4 |  | 7.98 |  | 0.024 |  | 0.06 |  | 30.9 |  | 1.1
E_SCCMR | Sunshine Coast Council Mary Catchment water quality | 1380113 | Obi Obi Creek at Crossing Number 2 | 2020-12-23 10:20 | 9026138 | Manual | Unitywater Maroochydore | See metadata |  |  |  | 0.012 |  | 204 |  | 6.9 |  | 0.041 |  | 0.38 |  | 7.4 |  | 0.035 |  | 0.08 |  | 27.6 |  | 3.2